## Slide 1: Bank of America Plaza, Atlanta Structural Wind Engineering
Technische Universität München 2022
Javad Mohebi
Rodrigo Castedo-Hernández
Raúl San Miguel Peñas
Computational Mechanics
Technische Universität München
March 2, 2023

## Slide 2: Agenda
Intro…
Technische Universität München 2022
Fig. 1: Bank of America Plaza [1]

## Slide 3
The Structure
Bank of America Plaza:
Height: 250 m
Floors: 55
Width: 55 m
Material: Concrete-Steel Composite
Year completed: 1992
Assumptions:
The cross-section shape is taken as square
The top hollow part is not considered
3
Technische Universität München 2022
Fig. 2: Bank of America Plaza [1]

## Slide 4
Location and wind conditions
Location:
Atlanta, Georgia, USA
Terrain type: IV
Wind conditions:
Dominant wind from WNW and ENE to the sides
of the building:
Considerable wind from W acting on the edge
of the building:
4
Technische Universität München 2022
Fig. 3: Wind rose according to 30 years data [2]

## Slide 5
.ifc format
Difficult to get the exact dimensions of the building
Model obtained from 3D Warehouse
Model scaled based on the height
Simplifications made
Geometry

## Slide 6
3000 (12H)
1000 (4H)
1500
750
500
250
1500 (6H)
1000
500
Subdomain boxes
Simulation (Subdomains)

## Slide 7
Subdomain boxes
250
260
100
150
Simulation (Subdomains)

## Slide 8
GROUND & STRUCTURE. NON SLIP CONDITION
OUTLET.
ATMOSFERIC PRESSURE
WALL & TOP. SLIP CONDITION
WALL & TOP. SLIP CONDITION
INLET. CUSTOM VELOCITY
Simulation (Mesh)

## Slide 9
Mesh size
120
50
15
3|2
120
1.5
Surfaces and Volumes
Lines
Simulation (Mesh)
 | Mesh quality |  |  | 
 | Simulation 1 |  | Simulation 2 | 
Triangular | 4.54E4 | (>50º) | 4.25E4 | (>50º)
Tetrahedral | 2.90E6 | (>55º) | 2,48E6 | (45º-55º)

## Slide 10
Simulation (Kratos)
Time parameters
  Time step = 0.03s
  Total time = 250s
Time intervals
  Ramp up (0,10)
  Constant Flow (10, 250)
Mathematical model
  Incompressible N-S eq.
Time integration Scheme
  Second Order Backward Differentiation
  Formula (BDF2)
Turbulence model
  LES
One way coupling

## Slide 11
Simulation 1
11
Technische Universität München 2022
Fig. 1: Velocity lines in Paraview
Fig. 2: Velocity stream lines from Paraview
Flow deformation after hit
Velocity decrease behind the building
Vortex shedding behind the building
Velocity increases at the edges

## Slide 12
Simulation 1
12
Technische Universität München 2022
Fig. 3: Mean velocities and turbulence intensities
No influence at H and 2H in front
0 velocity at 0 height due to no-slip BC
Turbulence behind the building
Deformed wind profile behind

## Slide 13
Simulation 1
13
Technische Universität München 2022
Fig. 4: Velocity stream lines from Paraview
Increase wind pressure at the edge
Focused on the upper part of the edge
Under pressure region at the back
Gradient pressure decrease on the sides

## Slide 14
Simulation 1
14
Technische Universität München 2022
Fig. 6: Mean pressure coefficients
Fig. 5: Pressure assessment lines locations.
Line 1
Line 2
Line 3
Line 4
4 assessment lines on the building at the height of 0.6H

## Slide 15
Simulation 2
15
Technische Universität München 2022
Fig. 7: Velocity lines in Paraview
Fig. 8: Velocity stream lines from Paraview
Simplified geometry
Generally same behavior
Less turbulence at the back

## Slide 16
Simulation 2
16
Technische Universität München 2022
Fig. 9: Mean velocities and turbulence intensities
Simplified geometry
Generally same behavior
Less turbulence at the back

## Slide 17
Simulation 2
17
Technische Universität München 2022
Fig. 10: Velocity stream lines from Paraview
Generally same behavior
No focus on the upper part of the edge due to simplified geometry

## Slide 18
Simulation 2
18
Technische Universität München 2022
Fig. 12: Mean pressure coefficients
Fig. 11: Pressure assessment lines locations.
4 assessment lines on the building at the height of 0.6H
Line 1
Line 3
Line 7
Line 5

## Slide 19
Base forces and moments analysis
19
Technische Universität München 2022
Fig. 12: Forces and moments in x-direction simulation 2.
Fig. 11: Forces and moments in x-direction simulation 1.

## Slide 20
Conclusion
20
Technische Universität München 2022
Wind behavior around the Bank of America Plaza has been studied using:
Eurocode-based analysis
Two CFD simulations
The effect of the building shape has been studied using:
Wind pressure
Velocity speed and deformation
Base forces and moments

## Slide 21
[1] Midtown, “Bank of America Plaza", 2022. [Online] www.midtownatl.com
[2] Meteoblue, “Wind rose“, 1992-2022 [Online] www.meteoblue.com
Technische Universität München 2022
21
References

## Slide 23: Simulation (Mesh)
Mesh quality
Simulation 1
Simulation 2